## System Peak
National Grid Corporation of the Philippines
SYSTEM PEAK DEMAND, MW
Month | Luzon (includes Embedded Generation Recorded by SO)
| 2008 | Date and time of Occurrence |  | 2009 | Date and time of Occurrence |  | 2010 | Date and time of Occurrence |  | 2011 | Date and time of Occurrence |  | 2012 | Date and time of Occurrence |  | 2013 | Date and time of Occurrence |  | 2014 | Date and time of Occurrence |  | 2015 | Date and time of Occurrence |  | 2016 | Date and time of Occurrence |  | 2017 | Date and time of Occurrence |  | 2018 | Date and time of Occurrence |  | 2019 | Date and time of Occurrence |  | 2020 | Date and time of Occurrence |  | 2021 | Date and time of Occurrence |  | 2022 | Date and time of Occurrence |  | 2023 | Date and time of Occurrence
Jan | 5972 | 2008-01-15 | 1323H | 6117.64 | 2009-01-23 | 1400H | 6407 | 2010-01-06 | 1421H | 6594 | 2011-01-21 | 1420H | 7027 | 2012-01-19 | 1351H | 7079 | 2013-01-08 | 1329H | 7121 | 2014-01-08 | 1341H | 7315 | 2015-01-21 | 1355H | 8175 | 2016-01-18 | 1408H | 8249 | 2017-01-13 | 1413H | 9213 | 2018-01-09 | 1414H | 9123 | 2019-01-14 | 1349H | 9713 | 2020-01-07 | 1350H | 9162 | 2021-01-25 | 1118H | 9449 | 2022-01-25 | 1429H | 9790 | 2023-01-24 | 1415H
Feb | 6094 | 2008-02-05 | 1344H | 6451.96 | 2009-02-20 | 1348H | 6878 | 2010-02-23 | 1352H | 6877 | 2011-02-11 | 1333H | 7162 | 2012-02-22 | 1348H | 7214 | 2013-02-15 | 1324H | 7545 | 2014-02-10 | 1338H | 7610 | 2015-02-17 | 1334H | 8229 | 2016-02-23 | 1616H | 8668 | 2017-02-23 | 1434H | 9579 | 2018-02-22 | 1437H | 9309 | 2019-02-11 | 1448H | 9889 | 2020-01-28 | 1429H | 9574 | 2021-02-24 | 1400H | 10067 | 2022-02-15 | 1431H | 10247 | 2023-02-23 | 1447H
Mar | 6211 | 2008-03-25 | 1355H | 6642 | 2009-03-25 | 1356H | 7057 | 2010-03-09 | 1347H | 7006 | 2011-03-21 | 1356H | 7503 | 2012-03-08 | 1324H | 7720 | 2013-03-19 | 1415H | 7655 | 2014-03-14 | 1406H | 7878 | 2015-03-20 | 1415H | 8806 | 2016-03-16 | 1438H | 9459 | 2017-03-24 | 1343H | 9936 | 2018-03-06 | 1418H | 10180 | 2019-03-21 | 1424H | 11103 | 2020-03-09 | 1411h | 10543 | 2021-03-18 | 1353H | 11654 | 2022-03-23 | 1437H | 11503 | 2023-03-24 | 1424H
Apr | 6663 | 2008-04-22 | 1404H | 6845 | 2009-04-16 | 1337H | 7305 | 2010-04-23 | 1401H | 7056 | 2011-04-18 | 1354H | 7885 | 2012-04-25 | 1331H | 8178 | 2013-04-25 | 1337H | 8267 | 2014-04-25 | 1335H | 8727 | 2015-04-20 | 1424H | 9586 | 2016-04-14 | 1332H | 9831 | 2017-04-21 | 1407H | 10539 | 2018-04-24 | 1341H | 10957 | 2019-04-22 | 1423H | 8377 | 2020-04-22 | 1420H | 10425 | 2021-04-22 | 1428H | 11508 | 2022-03-31 | 1407H | 12235 | 2023-04-19 | 1427H
May | 6485 | 2008-05-08 | 1341H | 6829 | 2009-05-25 | 1405H | 7656 | 2010-05-20 | 1335H | 7538 | 2011-05-17 | 1351H | 7889 | 2012-04-27 | 1345H | 8305 | 2013-05-08 | 1334H | 8717 | 2014-05-21 | 1351H | 8928 | 2015-05-21 | 1423H | 9726 | 2016-05-03 | 1352H | 10054 | 2017-05-09 | 1427H | 10750 | 2018-05-22 | 1337H | 11245 | 2019-05-15 | 1348H | 9639 | 2020-05-21 | 1346H | 11556 | 2021-05-20 | 1358H | 12113 | 2022-05-12 | 1429H | 12431 | 2023-05-09 | 1356H
Jun | 6674 | 2008-06-04 | 1351H | 6928 | 2009-05-26 | 1416H | 7646 | 2010-05-26 | 1342H | 7552 | 2011-06-07 | 1343H | 7709 | 2012-05-31 | 1338H | 8208 | 2013-06-07 | 1400H | 8607 | 2014-06-02 | 1344H | 8881 | 2015-06-03 | 1416H | 9507 | 2016-06-15 | 1345H | 10000 | 2017-06-14 | 1348H | 10876 | 2018-05-28 | 1353H | 11344 | 2019-06-21 | 1352H | 10642 | 2020-06-23 | 1409H | 11640 | 2021-05-28 | 1357H | 11856 | 2022-06-17 | 1431H | 12350 | 2023-06-22 | 1413H
Jul | 6559 | 2008-07-09 | 1342H | 6848 | 2009-06-30 | 1356H | 7240 | 2010-07-02 | 1347H | 7438 | 2011-07-21 | 1336H | 7574 | 2012-07-17 | 1353H | 8030 | 2013-06-27 | 1400H | 8265 | 2014-07-14 | 1317H | 8826 | 2015-06-30 | 1335H | 9339 | 2016-07-21 | 1324H | 9588 | 2017-06-30 | 1417H | 9996 | 2018-07-04 | 1327H | 10997 | 2019-07-11 | 1439H | 10595 | 2020-07-09 | 1412H | 11073 | 2021-07-01 | 1340H | 11311 | 2022-07-15 | 1437H
Aug | 6403 | 2008-08-11 | 1347H | 6863 | 2009-08-25 | 1345H | 7009 | 2010-08-02 | 1346H | 7200 | 2011-08-12 | 1341H | 7242 | 2012-07-26 | 1324H | 7755 | 2013-07-26 | 1350H | 8230 | 2014-08-14 | 1350H | 8889 | 2015-08-11 | 1334H | 9379 | 2016-07-27 | 1326H | 9957 | 2017-08-17 | 1420H | 9843 | 2018-08-01 | 1342H | 10687 | 2019-08-16 | 1344H | 10422 | 2020-07-27 | 1438H | 10270 | 2021-08-18 | 1355H | 11277 | 2022-07-28 | 1416H
Sep | 6495 | 2008-09-04 | 1353H | 6873 | 2009-08-26 | 1326H | 7057 | 2010-09-16 | 1349H | 7107 | 2011-09-14 | 1332H | 7293 | 2012-09-25 | 1334H | 7966 | 2013-09-03 | 1334H | 8005 | 2014-09-23 | 1419H | 8738 | 2015-09-08 | 1323H | 9082 | 2016-09-07 | 1336H | 9806 | 2017-09-08 | 1358H | 10035 | 2018-09-24 | 1355H | 10392 | 2019-09-24 | 1331H | 10570 | 2020-09-08 | 1422H | 10752 | 2021-09-23 | 1354H | 11469 | 2022-09-08 | 1450H
Oct | 6627 | 2008-10-23 | 1337H | 6530 | 2009-10-20 | 1329H | 7074 | 2010-10-07 | 1348H | 7255 | 2011-10-17 | 1330H | 7421 | 2012-09-27 | 1318H | 7564 | 2013-10-02 | 1400H | 7993 | 2014-10-22 | 1419H | 8624 | 2015-09-30 | 1400H | 9005 | 2016-10-24 | 1336H | 9483 | 2017-10-18 | 1406H | 10346 | 2018-10-12 | 1400H | 10845 | 2019-10-23 | 1400H | 10344 | 2020-09-30 | 1355H | 10811 | 2021-09-28 | 1415H | 11282 | 2022-10-11 | 1413H
Nov | 6492 | 2008-11-18 | 1346H | 6662 | 2009-11-10 | 1321H | 6851 | 2010-11-24 | 1324H | 7223 | 2011-11-11 | 1400H | 7425 | 2012-11-23 | 1337H | 7488 | 2013-11-15 | 1400H | 8033 | 2014-11-18 | 1336H | 8498 | 2015-10-26 | 1358H | 8900 | 2016-11-21 | 1352H | 9590 | 2017-11-21 | 1335H | 10088 | 2018-11-14 | 1348H | 10413 | 2019-11-18 | 1358H | 9886 | 2020-11-20 | 1337H | 10572 | 2021-11-22 | 1352H | 10989 | 2022-11-14 | 1440H
Dec | 6376 | 2008-11-26 | 1814H | 6575 | 2009-11-26 | 1814H | 6946 | 2010-12-14 | 1811H | 7178 | 2011-11-29 | 1813H | 7395 | 2012-12-07 | 1343H | 7670 | 2013-12-17 | 1341H | 7996 | 2014-11-26 | 1353H | 8487 | 2016-11-21 | 1352H | 8774 | 2016-11-28 | 1413H | 9441 | 2017-12-04 | 1336H | 9987 | 2018-12-06 | 1350H | 10111 | 2019-11-27 | 1338H | 9634 | 2020-12-11 | 1357H | 10009 | 2021-12-01 | 1126H | 10844 | 2022-11-29 | 1340H
Maximum | 6674 | 2008-06-04 | 1351H | 6928 | 2009-05-26 | 1416H | 7656 | 2010-05-20 | 1335H | 7552 | 2011-06-07 | 1343H | 7889 | 2012-04-27 | 1345H | 8305 | 2013-05-08 | 1334H | 8717 | 2014-05-21 | 1351H | 8928 | 2015-05-21 | 1423H | 9726 | 2016-05-03 | 1352H | 10054 | 2017-05-09 | 1427H | 10876 | 2018-05-28 | 1353H | 11344 | 2019-06-21 | 1352H | 11103 | 2020-03-09 | 1411h | 11640 | 2021-05-28 | 1357H | 12113 | 2022-05-12 | 1429H | 12431 | 2023-05-09 | 1356H
Ann Inc/(Dec) |  |  |  | 254 |  |  | 728 |  |  | -104 |  |  | 337 |  |  | 416 |  |  | 412 |  |  | 211 |  |  | 798 |  |  | 328 |  |  | 822 |  |  | 468 |  |  | -241 |  |  | 537 |  |  | 473 |  |  | 318
Growth Rate |  |  |  | 3.806% |  |  | 10.51% |  |  | -1.358% |  |  | 4.462% |  |  | 5.273% |  |  | 4.961% |  |  | 2.421% |  |  | 8.938% |  |  | 3.372% |  |  | 8.176% |  |  | 4.303% |  |  | -2.124% |  |  | 4.837% |  |  | 4.064% |  |  | 2.625%
Month | Visayas (includes Embedded Generation Recorded by SO)
| 2008 | Date and time of Occurrence |  | 2009 | Date and time of Occurrence |  | 2010 | Date and time of Occurrence |  | 2011 | Date and time of Occurrence |  | 2012 | Date and time of Occurrence |  | 2013 | Date and time of Occurrence |  | 2014 | Date and time of Occurrence |  | 2015 | Date and time of Occurrence |  | 2016 | Date and time of Occurrence |  | 2017 | Date and time of Occurrence |  | 2018 | Date and time of Occurrence |  | 2019 | Date and time of Occurrence |  | 2020 | Date and time of Occurrence |  | 2021 | Date and time of Occurrence |  | 2022 | Date and time of Occurrence |  | 2023 | Date and time of Occurrence
Jan | 1067.23 | 2007-12-27 | 1800H | 1119.616 | 2009-01-08 | 1900H | 1218.52 | 2010-01-06 | 1900H | 1331.048 | 2011-12-28 | 1900H | 1391.03 | 2012-01-25 | 1900H | 1462.81 | 2013-01-07 | 1809H | 1330.81 | 2014-01-06 | 1909H | 1476.14 | 2015-01-20 | 1835H | 1692.96 | 2016-01-12 | 1400H | 1803.74 | 2016-12-28 | 1820H | 1891.841 | 2018-01-25 | 1825H | 1872.58 | 2019-01-14 | 1815H | 2065.8 | 2020-01-16 | 1400H | 1927.1712 | 2021-01-25 | 1430H | 1710.2522 | 2022-01-20 | 1430H | 2058.04 | 2023-01-19 | 1425H
Feb | 1069.06 | 2008-02-06 | 1900H | 1160.237 | 2009-02-17 | 1900H | 1199.422 | 2010-02-25 | 1900H | 1355.74 | 2011-02-09 | 1900H | 1381.65 | 2012-02-21 | 1900H | 1445.81 | 2013-02-06 | 1837H | 1362.26 | 2014-02-05 | 1840H | 1479.08 | 2015-02-17 | 1834H | 1669.13 | 2016-02-23 | 1900H | 1746.92 | 2017-01-31 | 1835H | 1912.65 | 2018-02-21 | 1835H | 1919.1 | 2019-02-22 | 1400H | 2201.3006 | 2020-01-29 | 1355H | 1945.1943 | 2021-01-26 | 1450H | 1946.8404 | 2022-02-15 | 1445H | 2085.06 | 2023-02-06 | 1435H
Mar | 1078.56 | 2008-03-12 | 1900H | 1166.03 | 2009-03-24 | 1900H | 1253.56 | 2010-03-17 | 1900H | 1370.06 | 2011-03-22 | 1900H | 1419.24 | 2012-03-09 | 1900H | 1527.89 | 2013-03-22 | 1837H | 1411.25 | 2014-03-11 | 1841H | 1528.42 | 2015-03-24 | 1414H | 1749.44 | 2016-03-11 | 1424H | 1829.2 | 2017-03-23 | 1400H | 1956.1 | 2018-03-20 | 1400H | 2010.3 | 2019-03-22 | 1400H | 2140 | 2020-03-13 | 1400H | 2145.1651 | 2021-03-19 | 1410H | 2141.1933 | 2022-03-23 | 1445H | 2248.1 | 2023-03-24 | 1359H
Apr | 1111.516 | 2008-04-22 | 1900H | 1193.25 | 2009-04-16 | 1400H | 1305.86 | 2010-04-23 | 1400H | 1354.763 | 2011-04-18 | 1900H | 1447.11 | 2012-04-20 | 1900H | 1547.8 | 2013-04-17 | 1353H | 1498.74 | 2014-04-25 | 1845H | 1629.9 | 2015-04-20 | 1350H | 1846.09 | 2016-04-13 | 1406H | 1913.64 | 2017-04-25 | 1435H | 2044.2 | 2018-04-24 | 1355H | 2116.33 | 2019-04-25 | 1400H | 1789.4 | 2020-04-22 | 2100H | 2123.8 | 2021-04-12 | 1400H | 2155.3806 | 2022-04-01 | 1405H | 2417.23 | 2023-04-17 | 1427H
May | 1094.816 | 2008-04-30 | 1400H | 1204.35 | 2009-05-14 | 1900H | 1363.8 | 2010-05-25 | 1400H | 1430.53 | 2011-05-28 | 1400H | 1464.3 | 2012-05-08 | 1400H | 1572.33 | 2013-05-06 | 1347H | 1606.2 | 2014-05-07 | 1404H | 1617.5 | 2015-05-21 | 1415H | 1892.63 | 2016-05-05 | 1328H | 1933.38 | 2017-05-19 | 1328H | 2053.2294 | 2018-05-24 | 1334H | 2223.8 | 2019-05-16 | 1400H | 1965.6 | 2020-05-20 | 1400H | 2159.2769 | 2021-05-05 | 1420H | 2288.849 | 2022-05-12 | 1424H | 2458.23 | 2023-05-17 | 1422H
Jun | 1089.149 | 2008-06-10 | 2000H | 1203.98 | 2009-06-04 | 1900H | 1343.61 | 2010-06-04 | 1400H | 1384.39 | 2011-06-15 | 1900H | 1448.7 | 2012-06-19 | 1900H | 1554.68 | 2013-06-24 | 1904H | 1635.85 | 2014-05-27 | 1357H | 1562.38 | 2015-05-26 | 1341H | 1831.487 | 2016-06-07 | 1342H | 1934.648 | 2017-06-02 | 1410H | 2010.32 | 2018-05-28 | 1400H | 2220.1 | 2019-06-20 | 1400H | 2043.5656 | 2020-06-04 | 1450H | 2163.8376 | 2021-05-28 | 1425H | 2253.6196 | 2022-05-26 | 1318H | 2388.52 | 2023-06-14 | 1343H
Jul | 1099.903 | 2008-07-24 | 1900H | 1200.559 | 2009-07-08 | 1900H | 1323.16 | 2010-07-05 | 1900H | 1399.335 | 2011-06-28 | 1900H | 1439.95 | 2012-07-24 | 1900H | 1542.77 | 2013-07-18 | 1855H | 1510.61 | 2014-07-11 | 1842H | 1583.78 | 2015-07-20 | 1853H | 1818.71 | 2016-07-21 | 1400H | 1869.238 | 2017-06-29 | 1340H | 1971.72 | 2018-07-20 | 1418H | 2129 | 2019-07-11 | 1430H | 1955.67 | 2020-07-08 | 1400H | 2120 | 2021-06-30 | 1400H | 2146.9752 | 2022-07-25 | 1137H
Aug | 1125.529 | 2008-08-21 | 1900H | 1205.419 | 2009-08-10 | 1900H | 1300.12 | 2010-08-09 | 1900H | 1403.51 | 2011-08-02 | 1900H | 1480.1 | 2012-08-09 | 1900H | 1511.9 | 2013-08-19 | 1828H | 1579 | 2014-08-11 | 1844H | 1596.01 | 2015-08-11 | 1902H | 1825.117 | 2016-07-27 | 1400H | 1965.42 | 2017-08-09 | 1500H | 2015.2 | 2018-08-23 | 1400H | 2148 | 2019-08-14 | 1335H | 2079.6646 | 2020-08-25 | 1405H | 2136.6878 | 2021-08-02 | 1420H | 2214.82 | 2022-07-28 | 1406H
Sep | 1127.82 | 2008-09-01 | 1900H | 1214.07 | 2009-08-26 | 1400H | 1341.15 | 2010-09-20 | 1900H | 1414.979 | 2011-08-31 | 1900H | 1434.2 | 2012-09-18 | 1817H | 1547.16 | 2013-09-02 | 1830H | 1528.23 | 2014-09-11 | 1847H | 1624.94 | 2015-08-26 | 1402H | 1816.754 | 2016-09-02 | 1332H | 1936.4 | 2017-09-07 | 1400H | 1954.34 | 2018-08-29 | 1400H | 2164 | 2019-09-23 | 1400H | 2098.1 | 2020-08-26 | 1400H | 2088.9865 | 2021-09-13 | 1345H | 2315.59 | 2022-09-14 | 1421H
Oct | 1156.97 | 2008-10-02 | 1900H | 1215.124 | 2009-10-22 | 1800H | 1340.102 | 2010-09-28 | 1800H | 1410.53 | 2011-10-25 | 1800H | 1489 | 2012-10-18 | 1800H | 1520.03 | 2013-10-24 | 1820H | 1517.39 | 2014-10-22 | 1759H | 1705.1 | 2015-10-21 | 1812H | 1823.25 | 2016-10-25 | 1800H | 1953.002 | 2017-10-11 | 1810H | 2026.43 | 2018-10-12 | 1345H | 2223.6 | 2019-10-25 | 1400H | 2032.3 | 2020-10-01 | 1400H | 2142.6342 | 2021-10-19 | 1410H | 2264.16 | 2022-10-11 | 1449H
Nov | 1176.14 | 2008-11-18 | 1800H | 1241.09 | 2009-11-17 | 1800H | 1401.739 | 2010-11-24 | 1800H | 1450.61 | 2011-11-22 | 1800H | 1502 | 2012-11-06 | 1800H | 1517.94 | 2013-11-05 | 1801H | 1609.59 | 2014-11-17 | 1756H | 1768.29 | 2015-11-18 | 1803H | 1838.4 | 2016-11-22 | 1800H | 1975.36 | 2017-11-14 | 1800H | 1979.58 | 2018-10-26 | 1350H | 2167.6 | 2019-11-18 | 1800H | 2043.2 | 2020-11-19 | 1400H | 2173.2804 | 2021-11-23 | 1400H | 2200 | 2022-11-25 | 1047H
Dec | 1165.432 | 2008-12-12 | 1800H | 1230.74 | 2009-12-14 | 1800H | 1431.14 | 2010-12-16 | 1900H | 1481.14 | 2011-12-12 | 1800H | 1551 | 2012-12-12 | 1823H | 1349.93 | 2013-12-16 | 1809H | 1525.61 | 2014-12-04 | 1801H | 1727.15 | 2015-12-09 | 1830H | 1858.704 | 2016-12-12 | 1805H | 1957.2896 | 2017-12-04 | 1800H | 2019.53 | 2018-12-05 | 1800H | 2151.125 | 2019-12-06 | 1755H | 2026.5261 | 2020-12-14 | 1345H | 2251.66 | 2021-12-13 | 1100H | 2181.2381 | 2022-11-29 | 1430H
Maximum | 1176.14 | 2008-11-18 | 1800H | 1241.09 | 2009-11-17 | 1800H | 1431.14 | 2010-12-16 | 1900H | 1481.14 | 2011-12-12 | 1800H | 1551 | 2012-12-12 | 1823H | 1572.33 | 2013-05-06 | 1347H | 1635.85 | 2014-05-27 | 1357H | 1768.29 | 2015-11-18 | 1803H | 1892.63 | 2016-05-05 | 1328H | 1975.36 | 2017-11-14 | 1800H | 2053.2294 | 2018-05-24 | 1334H | 2223.8 | 2019-05-16 | 1400H | 2201.3006 | 2020-01-29 | 1355H | 2251.66 | 2021-12-13 | 1100H | 2315.59 | 2022-09-14 | 1421H | 2458.23 | 2023-05-17 | 1422H
Ann Inc/(Dec) |  |  |  | 64.95 |  |  | 190.05 |  |  | 50 |  |  | 69.86 |  |  | 21.33 |  |  | 63.52 |  |  | 132.44 |  |  | 124.34 |  |  | 82.73 |  |  | 77.8694 |  |  | 170.5706 |  |  | -22.4994 |  |  | 50.3594 |  |  | 63.93 |  |  | 142.64
Growth Rate |  |  |  | 5.522% |  |  | 15.31% |  |  | 3.494% |  |  | 4.717% |  |  | 1.375% |  |  | 4.04% |  |  | 8.096% |  |  | 7.032% |  |  | 4.371% |  |  | 3.942% |  |  | 8.307% |  |  | -1.012% |  |  | 2.288% |  |  | 2.839% |  |  | 6.16%
Month | Mindanao (includes Embedded Generation Recorded by SO)
| 2008 | Date and time of Occurrence |  | 2009 | Date and time of Occurrence |  | 2010 | Date and time of Occurrence |  | 2011 | Date and time of Occurrence |  | 2012 | Date and time of Occurrence |  | 2013 | Date and time of Occurrence |  | 2014 | Date and time of Occurrence |  | 2015 | Date and time of Occurrence |  | 2016 | Date and time of Occurrence |  | 2017 | Date and time of Occurrence |  | 2018 | Date and time of Occurrence |  | 2019 | Date and time of Occurrence |  | 2020 | Date and time of Occurrence |  | 2021 | Date and time of Occurrence |  | 2022 | Date and time of Occurrence |  | 2023 | Date and time of Occurrence
Jan | 1158.26 | 2008-01-15 | 1900H | 1142.91 | 2009-01-22 | 1900H | 1240.2 | 2010-01-06 | 1800H | 1250.2 | 2010-12-28 | 1800H | 1269.66 | 2011-12-28 | 1800H | 1284.137 | 2013-01-14 | 1804H | 1353.582 | 2014-12-26 | 1814H | 1386.49 | 2015-01-21 | 1828H | 1496.82 | 2016-01-11 | 1400H | 1589.282 | 2016-12-28 | 1800H | 1664.674 | 2017-12-28 | 1819H | 1774.731 | 2019-01-25 | 1416H | 1960.019 | 2020-01-15 | 1346H | 1883 | 2021-01-25 | 1412H | 2074 | 2022-01-11 | 1432H | 1987 | 2023-01-18 | 1333H
Feb | 1158.19 | 2008-02-28 | 2000H | 1162.89 | 2009-02-20 | 1900H | 1179.9 | 2010-01-26 | 1900H | 1231.3 | 2011-02-09 | 1900H | 1190.5 | 2012-02-01 | 2000H | 1244.01 | 2013-02-25 | 1838H | 1350.936 | 2014-02-05 | 1826H | 1380.24 | 2015-02-13 | 1405H | 1471.64 | 2016-02-04 | 1925H | 1613.434 | 2017-02-08 | 1829H | 1704.15 | 2018-02-20 | 1828H | 1726.126 | 2019-02-22 | 1348H | 1977.51 | 2020-01-28 | 1400H | 1914 | 2021-02-24 | 1359H | 2014 | 2022-02-16 | 1417H | 2057 | 2023-02-23 | 1431H
Mar | 1190.46 | 2008-03-31 | 1900H | 1183.08 | 2009-03-26 | 1900H | 1026.4 | 2010-03-17 | 1400H | 1219.18 | 2011-03-10 | 1900H | 1243.6 | 2012-03-13 | 1900H | 1245.022 | 2013-02-28 | 1824H | 1344.129 | 2014-02-26 | 1838H | 1370.084 | 2015-03-03 | 1400H | 1484.53 | 2016-03-18 | 1530H | 1632.805 | 2017-03-22 | 1829H | 1729.004 | 2018-03-16 | 1312H | 1816.701 | 2019-03-25 | 1401H | 1953.304 | 2020-03-13 | 1402H | 2017 | 2021-03-18 | 1400H | 2043 | 2022-03-22 | 1431H | 2184 | 2023-03-24 | 1409H
Apr | 1185.85 | 2008-04-22 | 2000H | 1185.6 | 2009-04-24 | 1400H | 1008.5 | 2010-03-28 | 1900H | 1253.34 | 2011-04-12 | 1900H | 1232.05 | 2012-04-02 | 1900H | 1226.046 | 2013-04-12 | 1345H | 1309.706 | 2014-03-26 | 1117H | 1405.5 | 2015-04-21 | 1404H | 1513.81 | 2016-04-25 | 1959H | 1696.812 | 2017-04-18 | 1426H | 1780.88 | 2018-04-12 | 1349H | 1892 | 2019-04-25 | 1342H | 1673.428 | 2020-04-24 | 1420H | 2049 | 2021-04-07 | 1445H | 2147 | 2022-04-25 | 1340H | 2272 | 2023-04-24 | 1402H
May | 1170.84 | 2008-05-27 | 1900H | 1220.2 | 2009-05-27 | 1400H | 1210.7 | 2010-05-13 | 1900H | 1252.7 | 2011-05-13 | 1400H | 1301.3 | 2012-05-21 | 1400H | 1365.72 | 2013-05-21 | 1830H | 1339.462 | 2014-05-23 | 1342H | 1438.08 | 2015-05-22 | 1342H | 1590.08 | 2016-05-13 | 1508H | 1691.573 | 2017-05-23 | 1400H | 1847.294 | 2018-05-23 | 1401H | 2013.189 | 2019-05-08 | 1358H | 1798.166 | 2020-05-19 | 1434H | 2106 | 2021-05-06 | 1356H | 2162 | 2022-05-20 | 1348H | 2315 | 2023-05-09 | 1417H
Jun | 1187.66 | 2008-06-16 | 1900H | 1195.7 | 2009-06-08 | 1900H | 1238.1 | 2010-06-23 | 1900H | 1264.25 | 2011-05-31 | 1400H | 1309.15 | 2012-06-14 | 1900H | 1364.278 | 2013-06-18 | 1840H | 1415.79 | 2014-06-24 | 1842H | 1434.99 | 2015-06-08 | 1400H | 1584.881 | 2016-06-08 | 1424H | 1675.247 | 2017-06-02 | 1400H | 1741.01 | 2018-06-08 | 1425H | 2001.37 | 2019-05-28 | 1400H | 1907.407 | 2020-06-23 | 1442H | 2059 | 2021-05-27 | 1419H | 2167 | 2022-06-01 | 1442H | 2234 | 2023-05-30 | 1440H
Jul | 1163.44 | 2008-07-07 | 1900H | 1210.3 | 2009-07-03 | 1500H | 1214 | 2010-07-16 | 1900H | 1297.74 | 2011-06-27 | 1900H | 1288.8 | 2012-07-17 | 1900H | 1383.52 | 2013-07-17 | 1839H | 1390.21 | 2014-07-23 | 1842H | 1397.37 | 2015-07-14 | 1502H | 1535.578 | 2016-07-22 | 1409H | 1624.228 | 2017-06-28 | 1340H | 1761.86 | 2018-07-19 | 1401H | 1943 | 2019-06-26 | 1300H | 1867.284 | 2020-07-22 | 1442H | 2028 | 2021-06-21 | 1422H | 2122 | 2022-07-21 | 1413H
Aug | 1136.95 | 2008-08-19 | 1900H | 1208 | 2009-08-07 | 1400H | 1221.4 | 2010-08-23 | 1900H | 1289.5 | 2011-08-03 | 1900H | 1305.8 | 2012-08-15 | 1900H | 1326.3 | 2013-08-14 | 1835H | 1386 | 2014-08-06 | 1840H | 1445.96 | 2015-08-11 | 1901H | 1582.243 | 2016-08-18 | 1400H | 1704.99 | 2017-08-09 | 1332H | 1821.013 | 2018-08-15 | 1430H | 1977 | 2019-08-14 | 1300H | 1911.366 | 2020-08-25 | 1442H | 2144 | 2021-08-04 | 1427H | 2129 | 2022-08-12 | 1442H
Sep | 1162.64 | 2008-09-23 | 1800H | 1217 | 2009-09-08 | 1900H | 1234.75 | 2010-09-03 | 1900H | 1287.67 | 2011-09-15 | 1900H | 1268.4 | 2012-09-20 | 1810H | 1256.41 | 2013-09-17 | 1811H | 1390.89 | 2014-09-19 | 1802H | 1452.99 | 2015-09-18 | 1413H | 1592.186 | 2016-08-30 | 1409H | 1707.657 | 2017-09-08 | 1431H | 1794.09 | 2018-08-29 | 1325H | 1960 | 2019-09-25 | 1813H | 1944 | 2020-09-04 | 1351H | 2032 | 2021-09-24 | 1419H | 2160 | 2022-09-20 | 1407H
Oct | 1162.41 | 2008-10-29 | 1800H | 1291.66 | 2009-10-06 | 1800H | 1262.65 | 2010-10-05 | 1800H | 1289.7 | 2011-09-28 | 1800H | 1319 | 2012-10-03 | 1808H | 1218.823 | 2013-09-26 | 1758H | 1441.252 | 2014-10-22 | 1749H | 1506.73 | 2015-10-14 | 1800H | 1644.843 | 2016-10-24 | 1755H | 1698.932 | 2017-10-10 | 1802H | 1835.064 | 2018-10-11 | 1358H | 1987.288 | 2019-10-22 | 1757H | 1896.04 | 2020-10-05 | 1400H | 2088 | 2021-10-25 | 1434H | 2093 | 2022-10-10 | 1413H
Nov | 1203.71 | 2008-11-18 | 1800H | 1303.2 | 2009-11-09 | 1800H | 1286.27 | 2010-11-23 | 1800H | 1325.9 | 2011-10-27 | 1800H | 1321 | 2012-11-23 | 1800H | 1396.737 | 2013-11-25 | 1801H | 1469.02 | 2014-11-12 | 1755H | 1518 | 2015-11-12 | 1810H | 1642.253 | 2016-11-22 | 1750H | 1726.463 | 2017-11-23 | 1800H | 1833.128 | 2018-11-09 | 1752H | 1995.03 | 2019-11-18 | 1322H | 1961 | 2020-11-13 | 1427H | 2128 | 2021-11-08 | 1338H | 2060 | 2022-11-14 | 1413H
Dec | 1174.74 | 2008-12-09 | 1800H | 1281.75 | 2009-12-09 | 1800H | 1287.78 | 2010-12-02 | 1800H | 1346.24 | 2011-12-21 | 1800H | 1318 | 2012-12-19 | 1800H | 1427.755 | 2013-12-12 | 1801H | 1453.04 | 2014-12-09 | 1809H | 1509.84 | 2015-12-22 | 1800H | 1653.209 | 2016-12-01 | 1751H | 1759.968 | 2017-12-05 | 1759H | 1853.214 | 2018-12-13 | 1759H | 1991.541 | 2019-12-05 | 1346H | 1931 | 2020-12-04 | 1405H | 2041 | 2021-12-02 | 1405H | 2067 | 2022-11-28 | 1406H
Maximum | 1203.71 | 2008-11-18 | 1800H | 1303.2 | 2009-11-09 | 1800H | 1287.78 | 2010-12-02 | 1800H | 1346.24 | 2011-12-21 | 1800H | 1321 | 2012-11-23 | 1800H | 1427.755 | 2013-12-12 | 1801H | 1469.02 | 2014-11-12 | 1755H | 1518 | 2015-11-12 | 1810H | 1653.209 | 2016-12-01 | 1751H | 1759.968 | 2017-12-05 | 1759H | 1853.214 | 2018-12-13 | 1759H | 2013.189 | 2019-05-08 | 1358H | 1977.51 | 2020-01-28 | 1400H | 2144 | 2021-08-04 | 1427H | 2167 | 2022-06-01 | 1442H | 2315 | 2023-05-09 | 1417H
Ann Inc/(Dec) |  |  |  | 99.49 |  |  | -15.42 |  |  | 58.46 |  |  | -25.24 |  |  | 106.755 |  |  | 41.265 |  |  | 48.98 |  |  | 135.209 |  |  | 106.759 |  |  | 93.246 |  |  | 159.975 |  |  | -35.679 |  |  | 166.49 |  |  | 23 |  |  | 148
Growth Rate |  |  |  | 8.265% |  |  | -1.183% |  |  | 4.54% |  |  | -1.875% |  |  | 8.081% |  |  | 2.89% |  |  | 3.334% |  |  | 8.907% |  |  | 6.458% |  |  | 5.298% |  |  | 8.632% |  |  | -1.772% |  |  | 8.419% |  |  | 1.073% |  |  | 6.83%
Note on B51: adacious: Mar 31